Note:

Hardcopy to be maintained on bridge.

| Action to be taken | Bridge Team | Technical Team | Emergency Squad | Watch Officer | Office |
| --- | --- | --- | --- | --- | --- |
| Secure cargo and, or bunkering operations |  | • | • |  |  |
| Secure isolation valves |  |  | • |  |  |
| Verity scuppers secured |  |  | • | • |  |
| Notify transfer facility / vessel if applicable |  |  | • |  |  |
| Report incident | • |  | • | • |  |
| Alert vessel's crew |  | • | • | • |  |
| Implement VRP / SOPEP as applicable | • |  |  |  |  |
| Initiate oil spill removal and verify containment |  |  | • |  |  |
| Survey extent of incident |  | • | • |  |  |
| Coordinate shore-side cleanup support resources | • |  |  |  | • |
| Ascertain cause of casualty | • | • | • |  | • |
| Determine corrective action | • | • | • |  | • |
| Send Safety Alert to Fleet |  |  |  |  | • |

| Preserve VDR / SVDR records if not automatically protected |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |