Note:

Hardcopy to be maintained on bridge.

| Action to be taken | Bridge Team | Technical Team | Emergency Squad | Office |
| --- | --- | --- | --- | --- |
| Sound Fire Alarm | • |  |  |  |
| Move vessel clear of installation | • |  |  |  |
| Muster fire & emergency teams | • | • | • |  |
| Ascertain if any damage to own vessel |  | • | • |  |
| Establish contact with Installation | • |  |  |  |
| Prepare Fi-Fi system (if fitted) or fire hoses | • |  | • |  |
| Prepare MOB / FRC for rescue from water |  |  | • |  |
| Prepare for offering assistance with fire-fighting, MOB rescue, and medical assistance | • |  | • |  |
| Preserve VDR / SVDR records if not automatically protected |  |  |  |  |