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CCR 27:  PORTABLE THERMOMETER CHECK

Portable thermometers are to be individually identified.

The temperature must be compared against a reference thermometer at least every 6 months.  This reference thermometer may be a UTI tape if it has itself been checked against a reference thermometer immediately beforehand.

	Date
	Thermometer no.
	Condition
	UTI     temperature
	Thermometer temperature
	Signature and Rank

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


