Vessel Name:

| S. No. | Item | Purpose | Whether existing | Comments |
| --- | --- | --- | --- | --- |
| 1 | Installation of chiller / cooler in fuel oil service line | To maintain viscosity of LSMGO at acceptable levels |  |  |
| 2 | Dedicated pipeline for the LSMGO bunkering and transfer | To avoid usage of common line for bunkering / transfer of HFO and MGO |  |  |
| 3 | Line for recirculation of fuel back to LSMGO Tank | To avoid heating up of LSMGO (and consequent reduction in viscosity) when kept in continuous circulation (in the absence of a chiller) |  |  |
| 4 | Bypass valve on the fuel side for the fuel heaters | To ensure that no heat is transmitted from the heater (in case of leaking valves etc.) when LSMGO is in use. |  |  |

Page 1 of 1