## ECP 03-00B
|  | Emergency Contingency Procedures |  |  |  | Doc No: ECP-03-00B
|  | ECP |  |  |  | Revision : 01
Date: 15 Oct 2024
|  | Contingency Planning |  |  |  | Issued by: DPA
Approved By: MD
FIRE STATION - MUSTER LIST
Vessel |  |  |  |  | Date
Team |  |  | Rank | Duties | Articles To Be Carried
Bridge Team | Bridge |  | Captain | General Commander , Save VDR Data | Transceiver
|  |  | 3rd Officer | Assist Master, Recording, Liaison, Position Fixing, Designated GMDSS officer in emergency | Transceiver, Muster List
|  |  | AB 1 | Steering | Hand flag, Signal light
Commander On - Scene | On- Scene |  | Chief Officer | On-scene Fire Fighting Commander (OFFC) | Transceiver, Torch Lamp, Muster List
|  |  | 2/E | On-scene Fire Fighting Sub-Commander | Torch Lamp
Emergency Squad Fire Fighting Team 1 | On- Scene |  | 2nd Officer | Team Leader, Liaison | Transceiver, Torch Lamp, Muster List
|  |  | Pump Man | Firefighter / Rescue from Enclosed Space | Fire Man’s Outfits
|  |  | AB 2 | Fire Fighting / Cooling Down by hose or extinguisher ,Enclosed Space Rescue Team | Breathing Apparatuses, Spare SCBA Air Bottles, Extinguisher, Fire Hoses & Nozzles, Torch Lamp
OS 1
Oiler 3
Emergency Squad Fire Fighting Team 2 | On- Scene |  | 3/E | Team Leader, Liaison | Transceiver, Torch Lamp
|  |  | AB 3 | Firefighter / Rescue from Enclosed Space | Fire Man’s Outfits
|  |  | #1Oiler | Fire Fighting / Cooling Down by hose or extinguisher , Enclosed Space Rescue Team | Breathing Apparatuses, Spare Air Tanks, Extinguisher, Fire Hoses & Nozzles, Torch Lamp
Oiler 2
Wiper
Engine Room Team | E.C.R |  | Chief Engineer | Team Leader, Command Eng. Dept, Activation of Fixed Ext. System | Torch Lamp
|  |  | 4/E | Start Emergency Fire Pump/ Foam System/Hyper mist Shut Electrical Supply,Operation / Recording / Assist C/E as required | Torch Lamp
|  |  | Electrical Officer |  | Torch Lamp
|  |  | Oiler 1 |  | Torch Lamp
Back Up Team | On-Scene |  | Bosun | Team Leader | Torch Lamp, Sea Knife, Blankets
|  |  | OS 2 | Control of Air Ventilation, Close all Dampers, Assist Fire fighting Team, Preparing Life boat, Bring Rescue Equipment /Assist Rescue team
| On-Scene |  | Chief Cook | Nursing or relief and Assist Fire Fighting Team or Engine Room Team, Assist Rescue team | First-aid kit, Stretcher, Blankets,
Mess Man
1. Muster Station = Starboard side. 2. Automatic Fire Alarm = “Ringing bell continuously up to stop it manually”. 2. Manual Fire Alarm = “7 or more short blasts followed by one long blast” as General Emergency Alarm with announcement “Fire in xxxx (at least 3 times)”. 3. After such alarm / announcement all persons shall muster suitably dressed in clothes with maximum body coverage, a helmet, safety shoes, gloves and carry an antismoke towel (wetted towel). 4. The clothes should be of cotton as far as possible (Clothes of chemical fabric are dangerous). ･All crew shall assemble at muster station after closing the ceiling dampers in the living quarter, scuttles and entrance doors. 5. Each Team Leader shall call the roll and check the details of articles carried, and then report to the OFFC (C/O) & Master. 6. In case of fire in engine room areas, I/A/E shall be OFFC and team 2 shall take the lead. 7. In case the Commander is disabled, C/O shall take over the responsibilities. 6. 3rd Officer is assigned for the maintenance of Life-Saving and Fire Fighting Appliances. 7. Fireman out fit donning duties will be rotated every three months for all crew to practice 8. Fire Dampers on all Ships to be numbered and recorded on a plan 9. The Muster List must be made ship specific. 10 Control of air ventilation pertains to closing of the watertight doors, fire doors, valves, scuppers, sidescuttles, skylights, portholes and other similar openings in the ship. 11. If the fire is found at deck, firefighting team 1 shall be main firefighting party, and if in the engine room, shall be firefighting team 2. 12. C/E shall activate the Fixed Extinguishing System as directed by General Commander in case the need arises.