| - Vessel Name: |  | - IMO Number: |  |
| --- | --- | --- | --- |
| - Date of Inspection (from) : | - Click or tap to enter a date. | - Date of Inspection (to): | - Click or tap to enter a date. |
| - Safety Officers Name: |  |  |  |

Instructions for Use

The Safety Officers Inspection is to be completed during the months of March, June, September and December.

All questions must be answered either Yes/ No/ N/A using the drop down menu.

Where No is selected, an explanation must be given in the reason/ comments column.

Details of each assessment must be entered into Defect Report E24 or DSM.

Any findings (questions answered No) shall be entered into Defect Report as an action, with a due date of one month from the completion date of the inspection.

For further information on periodic checks please refer to the Ships Safety & Training Record Book (SSTR)

Section 1: General

| Ref. | Question | Answer | Reason/ Comment |
| --- | --- | --- | --- |
| 1.1 | Is all emergency safety equipment part of the planned maintenance schedule (PMS)? Are all manufacturers, guidance requirements included? Consideration given to Flag & SOLAS compliance. | Choose an item. |  |
| 1.2 | Is all emergency safety equipment in the correct location as per the ships fire & safety plan? e.g. life buoys, fire extinguishers, pyrotechnics, life rafts, fire hoses etc. | Choose an item. |  |
| 1.3 | Are instructions for safety equipment posted & clearly visible? e.g. emergency generator, life rafts, watertight doors etc. | Choose an item. |  |
| 1.4 | Are all required safety notices/ signs posted & readable? | Choose an item. |  |
| 1.5 | Are there adequate tools & spares on board for emergency safety equipment? e.g. bulbs | Choose an item. |  |
| 1.6 | Are training manuals available on board? | Choose an item. |  |
| 1.7 | Are records of ship specific training available & current? | Choose an item. |  |
| 1.8 | Are visual inspections carried out, with faulty items quarantined? Expiration dates checked. Both fixed & mobile equipment e.g. embarkation ladders, fire extinguishers | Choose an item. |  |
| 1.9 | Are weekly function checks carried out on emergency safety equipment? | Choose an item. |  |
| 1.10 | Are batteries fully charged & recharged in rotation? e.g. radios | Choose an item. |  |

Section 2: Life Saving Appliances

| Ref. | Question | Answer | Reason/ Comment |
| --- | --- | --- | --- |
| LIFEBOATS |  |  |  |
| 2.1 | Is all emergency equipment (except boat hooks) stored securely as per SSTR? | Choose an item. |  |
| 2.2 | TOTALLY ENCLOSED BOATS: Are checks conducted on the condition of the exhaust pipework? | Choose an item. |  |
| 2.3 | TOTALLY ENCLOSED BOATS: Are tests carried out for the accumulation of Carbon Monoxide (CO) gas? | Choose an item. |  |
| RESCUE BOATS |  |  |  |
| 2.4 | Are rescue boats launched regularly as per SOLAS III reg. 19? | Choose an item. |  |
| 2.5 | Are means of launching regularly inspected & in good working order? | Choose an item. |  |
| LIFERAFTS |  |  |  |
| 2.6 | Is the life raft ID tag in place & legible? | Choose an item. |  |
| 2.7 | Are drain holes in the casing of the life rafts turned down & unobstructed? | Choose an item. |  |
| 2.8 | Is the weak link connected & in good condition? | Choose an item. |  |
| 2.9 | Are checks conducted on the condition & rigging of the Hydrostatic Release Unit (HRU)? | Choose an item. |  |
| LIFEJACKETS & IMMERSION SUITS |  |  |  |
| 2.10 | Are stowage areas clearly marked? | Choose an item. |  |
| 2.11 | Are the correct quantities stored in the right areas? | Choose an item. |  |
| 2.12 | Are jackets & suits neatly stored/ easily retrievable? | Choose an item. |  |
| 2.13 | Are jackets, suits & accessories certified | Choose an item. |  |
| LIFEBOUYS |  |  |  |
| 2.14 | Are the ships name & registry clearly marked? | Choose an item. |  |
| 2.15 | Are signals & buoys rigged for quick release? | Choose an item. |  |
| 2.16 | Are remote release mechanisms free & tested (with buoy secure)? | Choose an item. |  |
| COMMUNICATION |  |  |  |
| 2.17 | Is the Navtex operational & spare printer rolls on board? | Choose an item. |  |
| 2.18 | Are Digital Selective Calling (DSC) facilities operational? | Choose an item. |  |
| 2.19 | Emergency Tx/Rx in good working order? | Choose an item. |  |
| 2.20 | Is the ships public address system in good working order? | Choose an item. |  |
| 2.21 | Are the ships auto telephone equipment operational? | Choose an item. |  |
| 2.22 | Are the ships sound powered telephones operational? | Choose an item. |  |
| PYROTECHNICS & LINE THROWING APPARATUS |  |  |  |
| 2.23 | Are locations marked with IMO type sign? | Choose an item. |  |
| EMERGENCY LIGHTING |  |  |  |
| 2.24 | Are lights clearly marked? | Choose an item. |  |
| 2.25 | Are over side light swivels free & greased? | Choose an item. |  |
| 2.26 | Are ALDIS lamps working correctly? | Choose an item. |  |

Section 3: Fire Fighting Equipment

| Ref. | Question | Answer | Reason/ Comment |
| --- | --- | --- | --- |
| BREATHING APPARATUS (BA) |  |  |  |
| 3.1 | Is the low pressure warning whistle tested regularly? | Choose an item. |  |
| 3.2 | Is the compressor usage log being completed? | Choose an item. |  |
| 3.3 | Is the compressor hose of sufficient length to draw fresh air from outside? | Choose an item. |  |
| EEBD ELSA RESUSCIPAC ESCAPE SETS |  |  |  |
| 3.4 | Are cylinders & spare bottles full & ready for use? | Choose an item. |  |
| FIRE MAINS FIRE PUMPS |  |  |  |
| 3.5 | Are all fire pumps operated regularly to confirm they continue to supply adequate pressure? | Choose an item. |  |
| 3.6 | Is the emergency fire pump fuel supply adequate & heating system in satisfactory condition? | Choose an item. |  |
| FIRE/ FOAM HOSES, NOZZLES & HOSE BOXES |  |  |  |
| 3.7 | Is the coupling spanner available in each box? | Choose an item. |  |
| FIXED FIRE DETECTION & ALARM SYSTEMS |  |  |  |
| 3.8 | Have all alarm switches been operated regularly? Minimum once every 3 months | Choose an item. |  |
| 3.9 | Have tests been carried out on the emergency power supply switchover? | Choose an item. |  |
| FOAM APPLICATORS |  |  |  |
| 3.10 | Are applicators tested regularly to ensure they are operational? | Choose an item. |  |
| FIRE/ FOAM HYDRANTS |  |  |  |
| 3.11 | Are all hydrants inspected for ease of operation? | Choose an item. |  |
| 3.12 | Are all hydrants clearly painted red or cream (foam)? | Choose an item. |  |
| FIRE & FOAM LINE ISOLATING VALVES |  |  |  |
| 3.13 | Are all valves operated through their full range? | Choose an item. |  |
| 3.14 | Are the fire main valves painted RED? | Choose an item. |  |
| 3.15 | Are the foam main valves painted CREAM? | Choose an item. |  |
| FOAM SYSTEM |  |  |  |
| 3.16 | Are regular checks carried out on the foam tank level (level gauge & tank sounding)? | Choose an item. |  |
| 3.17 | Are gauge glass cocks operated to ensure proper flow of liquid? | Choose an item. |  |
| 3.18 | During tests is the foam pump run for 20 seconds against a closed valve? | Choose an item. |  |
| 3.19 | Are checks carried out to ensure the proper quantity of foam concentrate is provided in the foam system storage tank? Samples of foam concentrate to be taken & tested. Foam to be replaced when testing fails. | Choose an item. |  |
| 3.19a | Are portable foam drums in good condition, seals intact and within expiry? Replacement every 10 years as long as seals are intact. | Choose an item. |  |
| PORTABLE FIRE EXTINGUISHERS (including wheeled extinguishers) |  |  |  |
| 3.20 | Are all extinguishers free of obstruction/ readily accessible | Choose an item. |  |
| FIRE FLAPS, DAMPERS & VENTILATORS |  |  |  |
| 3.21 | Are handles clearly marked with OPEN & SHUT & painted red? | Choose an item. |  |
| 3.22 | Are flaps clearly labelled & numbered for space covered? | Choose an item. |  |
| 3.23 | Can locking devices be easily removed? | Choose an item. |  |
| 3.24 | Are ventilator flame screens in good condition? Do they shut effectively? | Choose an item. |  |
| ACCOMMODATION & DECK SPRAY SYSTEMS |  |  |  |
| 3.25 | Are sprays tested using a dedicated pump? | Choose an item. |  |
| 3.26 | Do valves operate through their full range? | Choose an item. |  |
| CO2 EXTINGUISHING SYSTEM |  |  |  |
| 3.27 | Are releasing controls properly positioned / readily accessible? | Choose an item. |  |
| 3.28 | Are pressure cylinders in place & properly secured? | Choose an item. |  |
| WATER MIST, SPRAY, SPRINKLER SYSTEMS |  |  |  |
| 3.29 | Are regular tests carried out on the automatic starter arrangement for all system pumps? | Choose an item. |  |
| 3.30 | Are control, pump & section valves in the correct position? | Choose an item. |  |
| 3.31 | Do pressure tanks, or other means, have correct levels of water? | Choose an item. |  |
| 3.32 | Checks carried out on standby pressure & air/gas pressure gauges? | Choose an item. |  |
| 3.33 | Are checks conducted on system water quality in the header tank & pump unit as per the manufacturers guidelines? | Choose an item. |  |
| FIXED DRY CHEMICAL POWDER SYSTEMS |  |  |  |
| 3.34 | Are all pressure gauges within the required range for operation & calibrated? | Choose an item. |  |
| 3.35 | Are all control & section valves in the correct position for operation? | Choose an item. |  |
| 3.36 | Is the dry chemical powder charge regularly agitated with moisture free nitrogen as per manufacturer’s instructions? | Choose an item. |  |
| FIRE DOORS & WATERTIGHT DOORS |  |  |  |
| 3.37 | Are all fire doors clearly marked? | Choose an item. |  |
| 3.38 | Are regular checks conducted to ensure that door closers are operating correctly? Operating from both local & remote locations | Choose an item. |  |
| 3.39 | Are checks being made to ensure doors are not tied, hooked or choked open & doors are not obstructed? | Choose an item. |  |
| ESCAPE ROUTES & EXITS |  |  |  |
| 3.40 | Are all exits & routes clearly marked with IMO type signs? | Choose an item. |  |
| 3.41 | Are all signs photo luminescent? | Choose an item. |  |
| 3.42 | Are checks carried out to ensure escape route doors are not obstructed? | Choose an item. |  |
| SAFETY BELTS & HARNESSES |  |  |  |
| 3.43 | Ensure rescue line with full body harness rigged in top of each pump room or access to thrusters space | Choose an item. |  |
| GALLEY EXHAUST & TRUNKING |  |  |  |
| 3.44 | Are there regular inspections of exhaust grids, trunkings & gutters for build-up of grease deposits? | Choose an item. |  |
| 3.45 | Is there a fire blanket available in the galley? | Choose an item. |  |
| 3.46 | Is there a stocked 1st Aid kit available? | Choose an item. |  |
| 3.47 | Is there an established cleaning routine being carried out? | Choose an item. |  |
| EMERGENCY STOPS & VENT FAN/ FUNNEL DAMPERS |  |  |  |
| 3.48 | Test all remote controls for stopping of vent fans, pumps, quick closing valves & closing of funnel dampers | Choose an item. |  |

Section 4: Medical Facilities on board

| Ref. | Question | Answer | Reason/ Comment |
| --- | --- | --- | --- |
| 4.1 | Is the OFFADM05 Medical Log completed as required? | Choose an item. |  |
| 4.2 | Where applicable are medicines stored between 2-8oC (refrigerated)? Are weekly temperatures of the fridge recorded? | Choose an item. |  |
| 4.3 | Are medicines of the same type/ category stored together? | Choose an item. |  |
| 4.4 | Are controlled drugs held separately & securely from other medication? For instance in a locked fridge or in the masters safe. | Choose an item. |  |
| 4.5 | Is the prescribing of controlled drugs logged in the OLB/ Deck log? | Choose an item. |  |
| 4.6 | Is the hospital kept locked at all times when unoccupied? | Choose an item. |  |
| 4.7 | Are there monthly checks of hospital facilities (including equipment) & stocks including first aid kits, eyewash stations, medical grade gas, defibrillator & accessories etc.? | Choose an item. |  |

Section 5: Other Safety Items

| Ref. | Question | Answer | Reason/ Comment |
| --- | --- | --- | --- |
| RESCUE HARNESS & LINE |  |  |  |
| 5.1 | Is the line diameter of cordage 18mm? | Choose an item. |  |
| INERT GAS SYSTEMS |  |  |  |
| 5.2 | Are deck non-return valve, Hi-jet & PV valves free moving? | Choose an item. |  |
| CARGO & BUNKER MANIFOLDS & TANK VENTS |  |  |  |
| 5.3 | Are manifolds colour coded? | Choose an item. |  |
| 5.4 | All are connections in good condition & blanked? | Choose an item. |  |
| 5.5 | Are spill containers/ drip trays clean & clear of debris? | Choose an item. |  |
| 5.6 | Are plugs fitted to spill containers? | Choose an item. |  |
| MAIN DECK SAFETY |  |  |  |
| 5.7 | Are walkways clear of obstruction, clearly marked & painted, where applicable, with anti-slip paint? | Choose an item. |  |
| 5.8 | Are access hatches unobstructed? | Choose an item. |  |
| SOUNDING ROUTINE |  |  |  |
| 5.9 | Is there a daily routine & are logs maintained? | Choose an item. |  |
| 5.10 | Are sounding pipes capped? | Choose an item. |  |
| PILOT LADDERS |  |  |  |
| 5.11 | Do ladders comply with SOLAS regulations? | Choose an item. |  |
| EMERGENCY STEEING GEAR & COMPASS |  |  |  |
| 5.12 | Is the compass repeater synchronised with the master gyro? | Choose an item. |  |
| NAVIGATIONAL LIGHTS & SOUND SIGNALS |  |  |  |
| 5.13 | Are there regular checks of the fog gong & striker? | Choose an item. |  |
| 5.14 | Are there regular checks of the bell & striker? | Choose an item. |  |
| INSTRUMENT ROOM HOUSKEEPING / CABLE MANAGEMENT |  |  |  |
| 5.15 | Are all cables in good order and well secured / clear of the deck? | Choose an item. |  |
| 5.16 | Is the housekeeping standard of the instrument room acceptable? | Choose an item. |  |