| Vessel: |  |  |  | Position: |  |  |  |  | Date: |  |  |  |  |  | Consec: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location of Work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plant Apparatus / Identification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Work to be done |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PERMIT VALIDITY – 12 Hours Maximum (Date/Time) |  |  |  |  |  | From: |  |  |  |  |  | To: |  |  |  |  |  |
| Other Permits Involved (√ box) |  |  | Working at Height? |  |  |  | Hotwork? |  |  |  |  |  | Enclosed space |  |  |  |  |

NAMES PERSONNEL INVOLVED (as required)

| Officer Responsible |  |  | Person undertaking work 3* |  |
| --- | --- | --- | --- | --- |
| Person undertaking work 1* |  |  | Person undertaking work 4* |  |
| Person undertaking work 2* |  |  | Person undertaking work 5* |  |

*Enter name above – Sign in corresponding box in Signature Section

RISK ASSESSMENT – CONFIRM   (RA must be completed before this Permit)

| ENTER RA No. |  | Risk assessment reviewed, satisfactory and all identified controls in place |  |
| --- | --- | --- | --- |

ISOLATION DATA – CONFIRM and DETAIL

| Apparatus dead and has been isolated from the system at the following points:- |  |
| --- | --- |
| Circuit main earths have been applied to the equipment at the following points:- |  |
| LOCK OUT Safety Locks (Detail locations fitted and identify lock set). |  |
| TAG OUT Caution/Danger notices have been applied at all points of isolation and Safety Signs appropriately positioned. |  |
| Additional Precautions to avoid danger have been taken by:- |  |

TREAT ALL OTHER APPARATUS AND AREAS AS DANGEROUS

PERMIT SIGNATURES.

| Officer Responsible |  | 3* |  |
| --- | --- | --- | --- |
| 1* |  | 4* |  |
| 2* |  | 5* |  |

PERMIT AUTHORISATION Permit must be signed by Chief Engineer

| Chief Engineer |  | Date/Time |  |
| --- | --- | --- | --- |

PRIOR STARTING

| Toolbox talk held with all involved in task. All involved in task understand work to be carried out and apparatus involved. No other equipment or apparatus in area to be touched. |  |  |  |
| --- | --- | --- | --- |
| Officer Responsible |  | Date / Time |  |

PERMIT CLEARANCE/CANCELLATION

| Work on equipment specified is complete / suspended. All persons involved clear of area and aware that no longer safe to carry out work. All equipment and tools removed. PERMIT CANCELLED |  |  |  |
| --- | --- | --- | --- |
| Officer Responsible |  | Date / Time |  |