## LNG 07
LNG-07 | [11 empty] | Form No.: LNG-07
|  | CALIBRATION CHECKS OF TEMP SENSORS | [9 empty] | Revision: 01 Date: 15 Oct 2024
Issued by: DPA Approved by: MD
Action: | Checking IAS - SAAB readouts of main and spare temperature sensors during testing with resistance meter.
Frequency: | Every 3 months.
Tank 1 | 36 Ω |  | 60 Ω |  | 100 Ω |  | Tank 3 | 36 Ω |  | 60 Ω |  | 100 Ω
Temperature sensor input | Displayed temperature (Ref: -160 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: -100 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: 0 C ) | Date | Temperature sensor input | Displayed temperature (Ref: -160 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: -100 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: 0 C ) | Date
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
Tank 2 | 36 Ω |  | 60 Ω |  | 100 Ω |  | Tank 4 | 36 Ω |  | 60 Ω |  | 100 Ω
Temperature sensor input | Displayed temperature (Ref: -160 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: -100 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: 0 C ) | Date | Temperature sensor input | Displayed temperature (Ref: -160 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: -100 C ) | Deviation max +/- 1.5 ( C ) | Displayed temperature (Ref: 0 C ) | Date
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100
|  | 160 |  | 100 |  |  |  |  | 160 |  | 100