## LNG 08
LNG-08 | [9 empty] | Form No. : LNG-08
|  | CALIBRATION CHECKS OF PRESSURE SENSORS | [7 empty] | Revision: 01 Date: 15 Oct 2024
Issued by: DPA Approved by: MD
Accuracy check performed with Calibrator METEK MPC-15 SN 513083-00583 | [8 empty] | Frequency: | Every 3 months
ACCURACY TEST OF CARGO TANK PRESSURE SENSORS
Action: | Compare readings of simulated pressure with SaabTank CTS display
Accuracy test of local pressure gauges as per SAAB TankRadar Service Manual p106:
Check pressure at 800, 1100 and 1400 mbar
Measuring Point | Ref. atm. press. (mbar) | Calibrator @ 800 mbar (atm. press + ... (mbar) | SAAB Displayed Pressure (mbar) | Deviation +/- 3 mbar (mbar) | Calibrator @ 1100 mbar (atm. press + ... (mbar) | SAAB Displayed Pressure (mbar) | Deviation +/- 3 mbar (mbar) | Calibrator @ 1400 mbar (atm. press + ... (mbar) | SAAB Displayed Pressure (mbar) | Deviation +/- 3 mbar (mbar) | Date
Tank 1 |  |  |  | 0 |  |  | 0 |  |  | 0
Tank 2 |  |  |  | 0 |  |  | 0 |  |  | 0
Tank 3 |  |  |  | 0 |  |  | 0 |  |  | 0
Tank 4 |  |  |  | 0 |  |  | 0 |  |  | 0
ACCURACY TEST OF CARGO TANK PRESSURE GAUGES (IN INSTRUMENT BOXES)
Vapour Dome | Cargo Tank Pressure |  |  |  | Date |  | Manifold PS | Pressure |  | Date
| IAS | Reference | IAS | Reference |  |  |  | Local | Reference
Tank 1 | [6 empty] | Liquid 1
Tank 2 | [6 empty] | Liquid 2
Tank 3 | [6 empty] | Vapor
Tank 4 | [6 empty] | Liquid 3
Liquid 4
Manifold Area | Pressure |  |  |  | Date |  | Manifold SB | Pressure |  | Date
| IAS | Reference | IAS | Reference |  |  |  | Local | Reference
Cros Fwd | 600 | 600 | 1601 | 1600 |  |  | Liquid 1 | 500 | 490
Cros Aft | 600 | 600 | 1600 | 1600 |  |  | Liquid 2 | 500 | 493
Vapor FM shore | 140 | 140 | 225 | 225 |  |  | Vapor | 200 | 198
Vapor HDR | 0 | 0 | 24.3 | 24 |  |  | Liquid 3 | 500 | 493
[7 empty] | Liquid 4 | 500 | 498