## Local Fire Fighting
LOCAL FIRE FIGHTING SYSTEM
4
Loop No. | Code | Description | Type | 20 | Test Date
1 | . | LOOP 1 | . | .
1 | 01 | Incinerator Room | FD | -45591.4086
1 | 02 | Incinerator Room Fwd | SD | -45591.4086
1 | 03 | Incinerator Room Aft | SD | -45591.4086
1 | 04 | Incinerator Room | PB | -45591.4086
1 | 05 | IGG Brn.Side | SCI
1 | 06 | Inert Gas Generator Burner | FD | -45591.4086
1 | 07 | Inert Gas Generator Burner After | SD | -45591.4086
1 | 08 | Inert Gas Generator Burner Fwd | SD | -45591.4086
1 | 09 | Inert Gas Generator Side | PB | -45591.4086
1 | 10 |  | SCI
1 | 11 | Nr.1 Boiler Side | PB | -45591.4086
1 | 12 | Nr.1 Boiler Burner | FD | -45591.4086
1 | 13 | Nr.1 Boiler Burner Aft | SD | -45591.4086
1 | 14 | Nr.1 Boiler Burner Fwd | SD | -45591.4086
2 | . | LOOP 2 | . | .
2 | 01 | D/G Engine | FD | -45591.4086
2 | 02 | D/G Engine Fwd | SD | -45591.4086
2 | 03 | D/G Engine Aft | SD | -45591.4086
2 | 04 | D/G Engine Room | PB | -45591.4086
2 | 05 |  | SCI
2 | 06 | Nr.2 Boiler Burner | FD | -45591.4086
2 | 07 | Nr.2 Boiler Burner Fwd | SD | -45591.4086
2 | 08 | Nr.2 Boiler Burner Aft | SD | -45591.4086
2 | 09 | Nr.2 Boiler Side | PB | -45591.4086
AUTO - MANUAL SWITCH: Key switch in MANUAL position for testing detectors without activating sprinkler
|  | Total Smoke/Temperature Detectors | 10
|  | Total Flame Detectors | 5
|  | Total Manual Call Points | 5
|  | Total | 20
LNG-52
FIRE DETECTION
Form No.: LNG-52
Revision: 1
Date: 15 Oct 2024
Issued by: DPA
Approved by: MD
Note on E9: overdue

## Fire Det
LNG/
FIRE DETECTION SYSTEM
6
Loop | Code | Description | Loop Nr. | Type | 309 | Test date
308
1 |  | Accommodation Navig.Deck | LOOP 1 | . | .
1 | 1 | W/H STBD FWD |  | SD | -6953.4086 | 2005-08-13
1 | 2 | W/H STBD AFT |  | SD | -6953.4086 | 2005-08-13
1 | 3 | Battery Room |  | SD-Ex | -6953.4086 | 2005-08-13
1 | 4 | W/H Lift Mach. Room |  | SD | -6953.4086 | 2005-08-13
1 | 5 | W/H P AFT |  | SD | -6953.4086 | 2005-08-13
1 | 6 | W/H P FWD |  | SD | -6953.4086 | 2005-08-13
1 | 7 | W/H Sur.Console |  | MCP | -6953.4086 | 2005-08-13
1 | 8 | W/H Sur.Console |  | SCI
1 | . | Accommodation D.Deck | LOOP 1 | . | .
1 | 9 | Pass.Fwd.STBD. |  | SD | -6953.4086 | 2005-08-13
1 | 10 | Capt.Bed Room |  | SD | -6953.4086 | 2005-08-13
1 | 11 | Capt.Day Room |  | SD | -6953.4086 | 2005-08-13
1 | 12 | Pass.STBD.Fwd. |  | SD | -6953.4086 | 2005-08-13
1 | 13 | Bonded Store |  | SD | -7048.4086 | 2005-05-10
1 | 14 | 3rd Off. Cabin |  | SD | -7048.4086 | 2005-05-10
1 | 15 | 2nd Off. Bed Room |  | SD | -6953.4086 | 2005-08-13
1 | 16 | 2nd Off. Day Room |  | SD | -6953.4086 | 2005-08-13
1 | 17 | Pass.STBD.Aft. |  | MCP | -7048.4086 | 2005-05-10
1 | 18 | Pass.STBD.Aft. |  | SD | -7048.4086 | 2005-05-10
1 | 19 | Ch.Off.Day Room |  | SD | -6931.4086 | 2005-09-04
1 | 20 | Pass.Aft.STBD. |  | SD | -6931.4086 | 2005-09-04
1 | 21 | Ch.Off.Bed Room |  | SD | -6931.4086 | 2005-09-04
1 | 22 | 2nd.Eng.Bed Room |  | SD | -6931.4086 | 2005-09-04
1 | 23 | Pass.Aft.PORT |  | SD | -6931.4086 | 2005-09-04
1 | 24 | 2nd.Eng.Day Room |  | SD | -6931.4086 | 2005-09-04
1 | 25 | Pass.PORT Aft. |  | SD | -6931.4086 | 2005-09-04
1 | 26 | Pass.PORT Aft. |  | MCP | -7048.4086 | 2005-05-10
1 | 27 | Gas Eng.Day Room |  | SD | -6931.4086 | 2005-09-04
1 | 28 | Gas Eng.Bed Room |  | SD | -6931.4086 | 2005-09-04
1 | 29 | 3rd Eng.Cabin |  | SD | -6931.4086 | 2005-09-04
1 | 30 | Pass.PORT Fwd. |  | SD | -6931.4086 | 2005-09-04
1 | 31 | Ch.Eng.Day Room |  | SD | -6931.4086 | 2005-09-04
1 | 32 | Ch.Eng.Bed Room |  | SD | -6931.4086 | 2005-09-04
1 | 33 | Pass.Fwd.PORT |  | SD | -6931.4086 | 2005-09-04
1 | 34 | Owner Bed Room |  | SD | -6931.4086 | 2005-09-04
1 | 35 | Owner Day Room |  | SD | -6931.4086 | 2005-09-04
1 | 36 | Pass.Centr.Fwd. |  | MCP | -7048.4086 | 2005-05-10
1 | 37 | Navig./Electr.Equip.Room |  | SD | -6931.4086 | 2005-09-04
1 | 38 | Stairway |  | SD | -6931.4086 | 2005-09-04
1 | 39 | Cable trunk |  | SCI
1 | . | Accommodation C.Deck | LOOP 1 | . | .
1 | 40 | Pass.Fwd.STBD. |  | SD | -6931.4086 | 2005-09-04
1 | 41 | Ship's Office STBD. | Heat det. | TD | -7048.4086 | 2005-05-10
1 | 42 | Ship's Office PORT | Heat det. | TD | -7048.4086 | 2005-05-10
1 | 43 | Pass.Centre Fwd. |  | MCP | -6931.4086 | 2005-09-04
1 | 44 | Pass.Centre Fwd. |  | SD | -6931.4086 | 2005-09-04
1 | 45 | CCR STBD. |  | SD | -6931.4086 | 2005-09-04
1 | 46 | CCR Console |  | MCP | -7048.4086 | 2005-05-10
1 | 47 | CCR PORT |  | SD | -6931.4086 | 2005-09-04
1 | 48 | Off.Changing Room |  | SD | -6931.4086 | 2005-09-04
1 | 49 | Pass.PORT Fwd. |  | SD | -6931.4086 | 2005-09-04
1 | 50 | 4th.Eng.Cabin (A) |  | SD | -6931.4086 | 2005-09-04
1 | 51 | Pass.PORT Aft. |  | SD | -6931.4086 | 2005-09-04
1 | 52 | 4th.Eng.Cabin (B) |  | SD | -6931.4086 | 2005-09-04
1 | 53 | Pass.PORT Aft. |  | MCP | -7048.4086 | 2005-05-10
1 | 54 | AUTOMATION ENGINEER day room |  | SD | -6931.4086 | 2005-09-04
1 | 55 | Pass.Aft.PORT |  | SD | -6931.4086 | 2005-09-04
1 | 56 | AUTOMATION ENGINEER bed room |  | SD | -6931.4086 | 2005-09-04
1 | 57 | Cargo off bed room |  | SD | -6931.4086 | 2005-09-04
1 | 58 | Pass.Aft.STBD. |  | SD | -7048.4086 | 2005-05-10
1 | 59 | Cargo off day room |  | SD | -6931.4086 | 2005-09-04
1 | 60 | Pass.STBD.Aft. |  | SD | -6931.4086 | 2005-09-04
1 | 61 | Pass. STBD.Aft. |  | MCP | -7048.4086 | 2005-05-10
1 | 62 | Pilot Cabin |  | SD | -6931.4086 | 2005-09-04
1 | 63 | Junior Off.(B) |  | SD | -7048.4086 | 2005-05-10
1 | 64 | Junior Off.(A) |  | SD | -7048.4086 | 2005-05-10
1 | 65 | Conference Room | Heat det. | TD | -7048.4086 | 2005-05-10
1 | 66 | Pass.STBD.Fwd. |  | SD | -6931.4086 | 2005-09-04
1 | 67 | Off.Laundry |  | SD | -6931.4086 | 2005-09-04
2 | . | Accommodation B.Deck | LOOP 2 | . | .
2 | 1 | Pass.Fwd.STBD. |  | SD | -6925.4086 | 2005-09-10
2 | 2 | Crew Cabin (G) |  | SD | -6925.4086 | 2005-09-10
2 | 3 | Crew Cabin (H) |  | SD | -7048.4086 | 2005-05-10
2 | 4 | Crew Cabin (I) |  | SD | -7048.4086 | 2005-05-10
2 | 5 | Pass.Fwd.STBD. |  | MCP | -7048.4086 | 2005-05-10
2 | 6 | Crew Changing Room |  | SD | -6924.4086 | 2005-09-11
2 | 7 | Port pass mid |  | SD | -6924.4086 | 2005-09-11
2 | 8 | Video ent. Room |  | SD | -6924.4086 | 2005-09-11
2 | 9 | Bosun cabin |  | SD | -6924.4086 | 2005-09-11
2 | 10 | Crew Cabin (J) |  | SD | -6924.4086 | 2005-09-11
2 | 11 | Aft pass SB |  | SD | -6924.4086 | 2005-09-11
2 | 12 | Crew Cabin (K) |  | SD | -6924.4086 | 2005-09-11
2 | 13 | Crew Cabin (L) |  | SD | -6924.4086 | 2005-09-11
2 | 14 | Aft pass center |  | MCP | -7048.4086 | 2005-05-10
2 | 15 | Electr.Equip.Room SB |  | SD | -6924.4086 | 2005-09-11
2 | 16 | Electr.Equip.Room P fwd |  | SD | -6924.4086 | 2005-09-11
2 | 17 | Electr.Equip.Room P aft |  | SD | -6924.4086 | 2005-09-11
2 | 18 | Pass.Aft.center |  | SD | -6924.4086 | 2005-09-11
2 | 19 | Crew Cabin (M) |  | SD | -6924.4086 | 2005-09-11
2 | 20 | Crew Cabin (N) |  | SD | -6924.4086 | 2005-09-11
2 | 21 | Ch.Cook Cabin |  | SD | -6924.4086 | 2005-09-11
2 | 22 | Spare P/Off. |  | SD | -6924.4086 | 2005-09-11
2 | 23 | Pass.Aft.mid |  | SD | -6924.4086 | 2005-09-11
2 | 24 | Crew Cabin (O) |  | SD | -6924.4086 | 2005-09-11
2 | 25 | Pass.Fwd.PORT |  | MCP | -6924.4086 | 2005-09-11
2 | 26 | Pass.Fwd.PORT |  | SD | -6924.4086 | 2005-09-11
2 | 27 | Crew Cabin (A) |  | SD | -6924.4086 | 2005-09-11
2 | 28 | Crew Cabin (B) |  | SD | -6924.4086 | 2005-09-11
2 | 29 | Crew Cabin © |  | SD | -6924.4086 | 2005-09-11
2 | 30 | Crew Cabin (D) |  | SD | -6924.4086 | 2005-09-11
2 | 31 | Crew Cabin (E) |  | SD | -6924.4086 | 2005-09-11
2 | 32 | Pass.Fwd.Centre |  | SD | -6924.4086 | 2005-09-11
2 | 33 | Crew Cabin (F) |  | SD | -6924.4086 | 2005-09-11
2 | 34 | Stairway |  | SD | -6924.4086 | 2005-09-11
2 | 35 | Cable trunk |  | SCI
2 | . | Accommodation A.Deck | LOOP 2 | . | .
2 | 36 | Pass.aft centre |  | SD | -6924.4086 | 2005-09-11
2 | 37 | Off.Service Room | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 38 | Galley |  | MCP | -7048.4086 | 2005-05-10
2 | 39 | Galley SB. | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 40 | Galley P | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 41 | Crew mess room after | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 42 | Crew Mess Room fwd | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 43 | Crew Service Room | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 44 | Duty Mess Room |  | SD | -6924.4086 | 2005-09-11
2 | 45 | Aft pass P |  | SD | -6924.4086 | 2005-09-11
2 | 46 | Pass.Fwd.PORT |  | MCP | -7048.4086 | 2005-05-10
2 | 47 | Pass.Fwd. PORT |  | SD | -6924.4086 | 2005-09-11
2 | 48 | Crew Recr.Room PORT | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 49 | Crew Recr.Room STBD | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 50 | Pass.Fwd.Centre |  | SD | -6924.4086 | 2005-09-11
2 | 51 | Gymnasium |  | SD | -6924.4086 | 2005-09-11
2 | 52 | First Aid Room |  | SD | -6924.4086 | 2005-09-11
2 | 53 | Hospital |  | SD | -6924.4086 | 2005-09-11
2 | 54 | Pass.Fwd.STBD. |  | MCP | -7048.4086 | 2005-05-10
2 | 55 | Pass.Fwd.STBD. |  | SD | -6924.4086 | 2005-09-11
2 | 56 | Off.Recreat.Room Fwd | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 57 | Off.Recreat.Room aft | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 58 | Off.Mess Room aft | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 59 | Off.Mess Room Fwd | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 60 | Aft pass SB |  | SD | -6924.4086 | 2005-09-11
2 | 61 | Cable trunk |  | SCI
2 | . | Accommodation Upper Deck | LOOP 2 | . | .
2 | 62 | Pass.Centre |  | SD | -6924.4086 | 2005-09-11
2 | 63 | Nr.2 CSBD STBD FWD. | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 64 | Nr.2 CSBD STBD AFT. |  | SD | -6924.4086 | 2005-09-11
2 | 65 | Nr.2 CSBD PORT FWD | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 66 | Nr.2 CSBD PORT AFT |  | SD | -6924.4086 | 2005-09-11
2 | 67 | Pass.PORT |  | MCP | -7048.4086 | 2005-05-10
2 | 68 | Pass.PORT |  | SD | -6924.4086 | 2005-09-11
2 | 69 | Eng.Changing Room |  | SD | -6924.4086 | 2005-09-11
2 | 70 | Pass.PORT Aft. |  | SD | -6924.4086 | 2005-09-11
2 | 71 | Suez Crew Cabin |  | SD | -6924.4086 | 2005-09-11
2 | 72 | Ship's Laundry |  | SD | -6924.4086 | 2005-09-11
2 | 73 | A/C Mach.Room Fwd. |  | SD | -6924.4086 | 2005-09-11
2 | 74 | A/C Mach.Room Middle |  | SD | -6924.4086 | 2005-09-11
2 | 75 | A/C Mach.Room Aft. |  | SD | -6924.4086 | 2005-09-11
2 | 76 | Dry Provis.Store Aft. |  | SD | -6924.4086 | 2005-09-11
2 | 77 | Dry Provis.Store Fwd. |  | SD | -6924.4086 | 2005-09-11
2 | 78 | Electr.Distrib.Panel Room |  | SD | -6924.4086 | 2005-09-11
2 | 79 | Fire C/R Safety Station |  | SD | -6924.4086 | 2005-09-11
2 | 80 | Fire C/R Safety Station |  | MCP | -7048.4086 | 2005-05-10
2 | 81 | Pass.STBD. |  | SD | -6924.4086 | 2005-09-11
2 | 82 | Pass.STBD. |  | MCP | -7048.4086 | 2005-05-10
2 | 83 | Nr.1 CSBD STBD. AFT |  | SD | -6924.4086 | 2005-09-11
2 | 84 | Nr.1 CSBD STBD. FWD | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 85 | Nr.1 CSBD PORT FWD | Heat det. | TD | -7048.4086 | 2005-05-10
2 | 86 | Nr.1 CSBD PORT AFT |  | SD | -6924.4086 | 2005-09-11
2 | 87 | Stairway |  | SD | -6924.4086 | 2005-09-11
2
3 | . | Engine Room 1st Deck | LOOP 3 | . | .
3 | 1 | E/R Entrance |  | MCP | -7048.4086 | 2005-05-10
3 | 2 | Nr.2 SWBD Room AFT | Heat det. | TD | -7048.4086 | 2005-05-10
3 | 3 | Nr.2 SWBD Room PORT |  | SD | -7048.4086 | 2005-05-10
3 | 4 | Nr.2 SWBD Room FWD | Heat det. | TD | -7048.4086 | 2005-05-10
3 | 5 | Nr.2 SWBD Room STBD |  | SD | -7048.4086 | 2005-05-10
3 | 6 | Nr.1 SWBD Room PORT |  | SD | -7048.4086 | 2005-05-10
3 | 7 | Nr.1 SWBD Room FWD | Heat det. | TD | -7048.4086 | 2005-05-10
3 | 8 | Nr.1 SWBD Room STBD |  | SD | -7048.4086 | 2005-05-10
3 | 9 | Nr.1 SWBD Room AFT | Heat det. | TD | -7048.4086 | 2005-05-10
3 | 10 | ECR | Heat det. | TD | -7048.4086 | 2005-05-10
3 | 11 | ECR SB |  | SD | -7048.4086 | 2005-05-10
3 | 12 | ECR FWD |  | SD | -7048.4086 | 2005-05-10
3 | 13 | ECR PORT |  | SD | -7048.4086 | 2005-05-10
3 | 14 | ECR STBD. |  | SD | -7048.4086 | 2005-05-10
3 | 15 | A/C for ECR |  | SD | -7048.4086 | 2005-05-10
3 | 16 | STBD.Transform |  | SD | -7048.4086 | 2005-05-10
3 | 17 | A/C Plant (1) |  | SD | -7048.4086 | 2005-05-10
3 | 18 | Prov.Refrig.Plant |  | SD | -7048.4086 | 2005-05-10
3 | 19 | A/C Plant (2) |  | SD | -7048.4086 | 2005-05-10
3 | 20 | I/G Gen.Space |  | SD | -7048.4086 | 2005-05-10
3 | 21 | Em'cy Exit STBD |  | MCP | -7048.4086 | 2005-05-10
3 | 22 | Nr.1 Boiler Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 23 | Nr.1 Boiler Burner Side | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 24 | Nr.1 Boiler Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 25 | Boiler Cent.Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 26 | Boiler Cent.Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 27 | Nr.2 Boiler Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 28 | Nr.2 Boiler Burner Side | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 29 | Nr.2 Boiler Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 30 | Eng.Room Store Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 31 | Em'cy Exit PORT |  | MCP | -7048.4086 | 2005-05-10
3 | 32 | Eng.Room Store Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 33 | N2 Buffer Tk |  | SD | -7048.4086 | 2005-05-10
3 | 34 | N2 Feed Air Compressor |  | SD | -7048.4086 | 2005-05-10
3 | 35 | PORT Incinerator D/O Pump |  | SD | -7048.4086 | 2005-05-10
3 | 36 | A/C for SWBD Room |  | SD | -7048.4086 | 2005-05-10
3 | 37 | ECR Outside Port |  | SD | -7048.4086 | 2005-05-10
3 | 38 | ECR Outside Port Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 39 | ECC |  | MCP | -7048.4086 | 2005-05-10
3 | 40 | ECR Outside STBD Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 41 | ECR Outside STBD Aft. |  | SCI
3 | . | Engine Room 2nd Deck | LOOP 3 | .
3 | 42 | Stairway PORT |  | MCP | -7048.4086 | 2005-05-10
3 | 43 | Stairway PORT |  | SD | -7048.4086 | 2005-05-10
3 | 44 | Nr 3 T/G AFT |  | SD | -7048.4086 | 2005-05-10
3 | 45 | D/G Eng.Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 46 | D/G Eng. | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 47 | D/G Eng.Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 48 | Nr 3 T/G FWD |  | SD | -7048.4086 | 2005-05-10
3 | 49 | Nr 3 T/G | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 50 | Nr.2 T/G AFT. |  | SD | -7048.4086 | 2005-05-10
3 | 51 | Nr.2 T/G | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 52 | Nr.2 T/G FWD. |  | SD | -7048.4086 | 2005-05-10
3 | 53 | Nr.1 T/G | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 54 | Nr.1 F.W.Gen.Fl.Type |  | SD | -7048.4086 | 2005-05-10
3 | 55 | Sewage Unit |  | SD | -7048.4086 | 2005-05-10
3 | 56 | I/G Dyer Unit Side |  | SD | -7048.4086 | 2005-05-10
3 | 57 | LPSG FWD |  | SD | -7048.4086 | 2005-05-10
3 | 58 | I/G Dyer Unit Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 59 | I/G Cool.Unit Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 60 | I/G Cool.Unit Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 61 | Stairway STBD |  | SD | -7048.4086 | 2005-05-10
3 | 62 | Stairway STBD |  | MCP | -7048.4086 | 2005-05-10
3 | 63 | I/G Gen.Space | Flame Det. | FD | -7048.4086 | 2005-05-10
3 | 64 | I/G Gen.Scrubber |  | SD | -7048.4086 | 2005-05-10
3 | 65 | Nr.1 Boiler Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 66 | Nr.1 Boiler Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 67 | Em'cy Exit |  | MCP | -7048.4086 | 2005-05-10
3 | 68 | Nr.2 Boiler Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 69 | Nr.2 Boiler Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 70 | E/R Workshop Side |  | SD | -7048.4086 | 2005-05-10
3 | 71 | E/R workshop |  | TIMER
3 | 72 | Boiler Feed W.Samp R. |  | SD | -7048.4086 | 2005-05-10
3 | 73 | Engr's Workshop Aft |  | SD | -7048.4086 | 2005-05-10
3 | 74 | Engr's Workshop Middle |  | SD | -7048.4086 | 2005-05-10
3 | 75 | Engr's Workshop Welding Area | Heat Det. | TD | -7048.4086 | 2005-05-10
3 | 76 | Electr.Workshop |  | SD | -7048.4086 | 2005-05-10
3 | 77 | Engr's Workshop Fwd. |  | SD | -7048.4086 | 2005-05-10
3 | 78 | Engr's Workshop A/C Area |  | SD | -7048.4086 | 2005-05-10
3 | 79 |  |  | SCI
3 | 80 | S/G Room STBD.Fwd |  | SD | -7048.4086 | 2005-05-10
3 | 81 | S/G Room STBD.Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 82 | S/G Room STBD |  | MCP | -7048.4086 | 2005-05-10
3 | 83 | S/G Room PORT Aft. |  | SD | -7048.4086 | 2005-05-10
3 | 84 | S/G Room PORT Fwd. |  | SD | -7048.4086 | 2005-05-10
4 | . | Engine Room 3rd Deck | LOOP 4 | . | .
4 | 1 | Stairway PORT |  | SD | -7048.4086 | 2005-05-10
4 | 2 | Dump Steam Con.V/V Fwd. |  | SD | -7048.4086 | 2005-05-10
4 | 3 | Central F/W Cooler |  | SD | -7048.4086 | 2005-05-10
4 | 4 | Gland Cond.Exh.Fan |  | SD | -7048.4086 | 2005-05-10
4 | 5 | ???? |  | SD | -7048.4086 | 2005-05-10
4 | 6 | ???? |  | SD | -7048.4086 | 2005-05-10
4 | 7 | Ion exchanger |  | SD | -7048.4086 | 2005-05-10
4 | 8 | Control Air Compressor |  | SD | -7048.4086 | 2005-05-10
4 | 9 | Control Air Rcvr. |  | SD | -7048.4086 | 2005-05-10
4 | 10 | LPSG Drain Cooler |  | SD | -7048.4086 | 2005-05-10
4 | 11 | Purifier Room Fwd. |  | SD | -7048.4086 | 2005-05-10
4 | 12 | Purifier Room Aft. |  | SD | -7048.4086 | 2005-05-10
4 | 13 | Make-up V/V Unit |  | SD | -7048.4086 | 2005-05-10
4 | 14 | Stairway STBD |  | MCP | -7048.4086 | 2005-05-10
4 | 15 | L/O Filter |  | SD | -7048.4086 | 2005-05-10
4 | 44 | MP bleed st red v/v SB |  | SD | -7048.4086 | 2005-05-10
4 | 16 | Main L/O Cooler |  | SD | -7048.4086 | 2005-05-10
4 | 17 | Gen.Service Tk. |  | SD | -7048.4086 | 2005-05-10
4 | 18 | Main Feed W.Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 19 | Em'cy Exit |  | MCP | -7048.4086 | 2005-05-10
4 | 20 | Calorifier filter |  | SD | -7048.4086 | 2005-05-10
4 | 21 | Em'cy Feed W.Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 22 | Dehumidifier STBD |  | SD | -7048.4086 | 2005-05-10
4 | 23 | Dump Steam Con.V/V |  | SD | -7048.4086 | 2005-05-10
4 | 24 | Dump Steam Silencer FWD |  | SD | -7048.4086 | 2005-05-10
4 | 25 | Dump Steam Con.V/V |  | MCP | -7048.4086 | 2005-05-10
4 | 26 | Stairway PORT |  | SD | -7048.4086 | 2005-05-10
4 | 27 | Stairway PORT |  | SCI
4 | . | Engine Room Floor | LOOP 4 | . | .
4 | 28 | Stairway PORT |  | MCP | -7048.4086 | 2005-05-10
4 | 29 | Navig.Drain Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 30 | Fire Jockey Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 31 | Nr 1 ballast pp FWD |  | SD | -7048.4086 | 2005-05-10
4 | 32 | Main C.W Circ. Pp |  | SD | -7048.4086 | 2005-05-10
4 | 33 | Main SW Circ.Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 34 | Stairway STBD |  | MCP | -7048.4086 | 2005-05-10
4 | 35 | Atm.Condenser. |  | SD | -7048.4086 | 2005-05-10
4 | 36 | Oil Drain Inspection Tk. |  | SD | -7048.4086 | 2005-05-10
4 | 37 | Oil Drain Inspection Tk.After |  | SD | -7048.4086 | 2005-05-10
4 | 38 | S/T L.O Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 39 | Em'cy Exit |  | MCP | -7048.4086 | 2005-05-10
4 | 40 | Hyd. Power unit |  | SD | -7048.4086 | 2005-05-10
4 | 41 | B.W separator |  | SD | -7048.4086 | 2005-05-10
4 | 42 | Bilge Pp. |  | SD | -7048.4086 | 2005-05-10
4 | 43 | Navig.Drain Pp.Aft. |  | SD | -7048.4086 | 2005-05-10
5 | . | Emergency Generator Room | LOOP 5 | . | .
5 | 1 | Em'cy Gen.Room AFT | Heat det. | SD | -7048.4086 | 2005-05-10
5 | 2 | Em'cy Gen. Room FWD | Heat Det. | SD | -7048.4086 | 2005-05-10
5 | 3 | Em'cy Gen.Room Exit |  | MCP | -7048.4086 | 2005-05-10
5 | 4 | Em'cy Gen.Room |  | SCI
5 | . | Eng.Room Upper Deck | LOOP 5 | . | .
5 | 5 | Port aft. |  | SD | -7048.4086 | 2005-05-10
5 | 6 | PORT Fwd. |  | SD | -7048.4086 | 2005-05-10
5 | 7 | Cent Fwd |  | SD | -7048.4086 | 2005-05-10
5 | 8 | SB Fwd |  | SD | -7048.4086 | 2005-05-10
5 | 9 | Air Lock |  | MCP | -7048.4086 | 2005-05-10
5 | 10 | SB Aft |  | SD | -7048.4086 | 2005-05-10
5 | 11 | SB Aft |  | SCI
5 | 12 | Gas Hood Room | Flame Det. | FD-Ex | -7048.4086 | 2005-05-10
5 | . | Incinerator Room | LOOP 5 | . | .
5 | 13 | Incinerator Room |  | SD | -7048.4086 | 2005-05-10
5 | 14 | Incinerator Room |  | MCP | -7048.4086 | 2005-05-10
5 | 15 | Incinerator Room |  | SCI
5 | . | Engine Casing Deck A | LOOP 5 | . | .
5 | 16 | STBD.Fwd. |  | SD | -7048.4086 | 2005-05-10
5 | 17 | STBD.Aft. |  | SD | -7048.4086 | 2005-05-10
5 | 28 | Center Fwd. |  |  | -7048.4086 | 2005-05-10
5 | 18 | Centre |  | SD | -7048.4086 | 2005-05-10
5 | 19 | PORT Aft |  | SD | -7048.4086 | 2005-05-10
5 | 20 | PORT Fwd. |  | SD | -7048.4086 | 2005-05-10
5 | . | Engine Casing Deck B | LOOP 5 | . | .
5 | 21 | B Deck Cent. |  | SD | -7048.4086 | 2005-05-10
5 | . | Engine Casing Deck C | LOOP 5 | . | .
5 | 22 | S-Space PORT |  | MCP | -7048.4086 | 2005-05-10
5 | 23 | Centr.Stairway |  | SD | -7048.4086 | 2005-05-10
5 | . | Engine Casing Top | LOOP 5 | . | .
5 | 24 | Top |  | MCP | -7048.4086 | 2005-05-10
5 | 25 | Top |  | SCI
5 | 26 | E/Casing C Dk STB |  | MCP | -7048.4086 | 2005-05-10
5 | 27 | S-Stpace |  | SD |  | 2005-05-10
6 | . | Electrical Motor Room | LOOP 6 | . | .
6 | 1 | Electrical Motor Room PORT |  | SD | -7048.4086 | 2005-05-10
6 | 2 | Electrical Motor Room STBD |  | SD | -7048.4086 | 2005-05-10
6 | 3 | Electrical Motor Room STBD |  | SCI
6 | . | Cargo Compressor Room | LOOP 6 | . | .
6 | 4A | Cargo Compressor Room PORT |  | SD-Ex | -7048.4086 | 2005-05-10
6 | 4B | Cargo Compressor Room PORT |  | SD-Ex | -7048.4086 | 2005-05-10
6 | 5A | Cargo Compressor Room STBD |  | SD-Ex | -7048.4086 | 2005-05-10
6 | 5B | Cargo Compressor Room STBD |  | SD-Ex | -7048.4086 | 2005-05-10
7 | . | Bosun Store Fore | LOOP 7 | . | .
7 | 1 | Entrance |  | MCP
7 | 2 | Bosun Store Aft. |  | SD | -7048.4086 | 2005-05-10
7 | 3 | Bosun Store Mid. |  | SD | -7048.4086 | 2005-05-10
7 | 4 | Bosun Store Fwd. |  | SD | -7048.4086 | 2005-05-10
7 | 5 |  |  | SCI
7 | . | Bowthruster Room | LOOP 7 | . | .
7 | 6 | Nr 3 STR |  | MCP | -7048.4086 | 2005-05-10
7 | 7 | Nr 3 STR |  | SCI
7 | . | Fwd.Pump Room | LOOP 7 | . | .
7 | 8 | Fwd.Pump Room |  | SD | -7048.4086 | 2005-05-10
7 | 9 | Fwd.Pump Room |  | MCP | -7048.4086 | 2005-05-10
8 |  | Heating water pump room | LOOP 8
8 | 1 | STB Fwd. |  | SD | -7048.4086 | 2005-05-10
8 | 2 | STB Aft. |  | SD | -7048.4086 | 2005-05-10
8 | 3 | Aft Exit |  | MCP | -7048.4086 | 2005-05-10
8 | 4 | Port Aft |  | SD | -7048.4086 | 2005-05-10
8 | 5 | PORT Fwd. |  | SD | -7048.4086 | 2005-05-10
8 | 6 | Fwd Exit |  | MCP | -7048.4086 | 2005-05-10
8 | 7 |  |  | SCI
8 |  | Regas SWBD and STL Control room | LOOP 8
8 | 8 | Port Fwd. | Heat Det. | TD | -7048.4086 | 2005-05-10
8 | 9 | Port Exit |  | MCP | -7048.4086 | 2005-05-10
8 | 10 | Port Aft | Heat Det. | TD | -7048.4086 | 2005-05-10
8 | 11 | Center Aft. |  | SD | -7048.4086 | 2005-05-10
8 | 12 | SB Aft |  | SD | -7048.4086 | 2005-05-10
8 | 13 | SB Fwd. |  | SD | -7048.4086 | 2005-05-10
8 | 14 | Center Fwd. |  | SD | -7048.4086 | 2005-05-10
8 | 15 | Fwd. Exit |  | MCP | -7048.4086 | 2005-05-10
8 | 16 |  |  | SCI
8 |  | STL Ccompartment | LOOP 8
8 | 17A | upp.DK level |  | SD | -7048.4086 | 2005-05-10
8 | 17B | upp.DK level |  | MCP | -7048.4086 | 2005-05-10
8 | 17C | B/Store DK Level |  | SD | -7048.4086 | 2005-05-10
8 | 18A | upp.DK level |  | SD | -7048.4086 | 2005-05-10
8 | 18B | B/Store DK Level |  | SD | -7048.4086 | 2005-05-10
8 | 19 | 17.974 A/B Level | Flame Det. | FD | -7048.4086 | 2005-05-10
8 | 20 | 17.974 A/B Und. Level | Flame Det. | FD | -7048.4086 | 2005-05-10
8 |  | Exit trunk | LOOP 8
8 | 21 |  |  | MCP | -7048.4086 | 2005-05-10
|  | Total Smoke Detectors IP22 | 110 | 251
|  | Total Smoke Detectors IP55 | 132
|  | Total Smoke Detectors IP55 (Ex) | 9
|  | Total Flame Detectors IP55 | 7 | 10
|  | Total Flame Detectors IP66 Ex | 3
|  | Total Thermal Detectors IP22 | 24 | 26
|  | Total Thermal Detectors IP55 | 2
|  | Total Manual Call Points IP24 | 18 | 46
|  | Total Manual Call Points IP55 | 26
|  | Total Manual Call Points (Ex type) | 2
LNG-52
FIRE DETECTION
Form No.: LNG-52
Revision: 1
Date: 15 Oct 2024
Issued by: DPA
Approved by: MD
Note on F11: overdue
Note on C69: automation: C.A.D MOI
Note on C71: automation: ET ENCORE MOI