## Engine Area
LNG/RV EXCELERATE
GAS DETECTION IN ENGINE ROOM AREA
Infrared & Catalytic Combustion Detection
| Complete test every 3 month | 2025-02-25 09:49 |  | 3 | Due | 2002 | 2002 | 2002 | 2005 | 2020 | 2020 | 2020
| Description | Zero | LEL 30% | LEL 60% | 11 | Oct | Nov | Dec | Jan
Loop 6 | Infrared Detection
1 | Boil Off Gas room | X | X | X | -8058.909 |  | 2002-11-03
2 | №1 Boiler Fuel Gas Double Pipe | X | X | X | -8058.909 |  | 2002-11-03
3 | №2 Boiler Fuel Gas Double Pipe | X | X | X | -45621.909
4 | E/R Supply Fan Duct Port Fwd. | X | X | X | -45621.909
5 | E/R Supply Fan Duct Stb. Fwd. | X | X | X | -8066.909 | 2002-10-26
6 | Inert Gas Line After Dryer | X | X | X | -45621.909
Loop 1 | Catalytic Combustion Detection
1 | ER First Deck Port Fwd | X | X | X | -45621.909
2 | ECR | X | X | X | -45621.909
3 | ER First Deck Stb Fwd | X | X | X | -8025.909 |  |  | 2002-12-06
4 | ER First Deck Stb Aft | X | X | X | -8017.909 |  |  | 2002-12-14
5 | ER First Deck Port Aft | X | X | X | -8017.909 |  |  | 2002-12-14
| 60% LEL MASTER GAS VALVE TRIP | [6 empty] | 2002-12-14
LNG-53
GAS DETECTION - ENGINE
Form No.: LNG-53
Revision: 1
Date: 15 Oct 2024
Issued by: DPA
Approved by: MD

## Accom.-Deck Area
LNG/RV EXCELERATE
GAS DETECTION IN ACCOMMODATIONS & FORE PEAK AREA
Catalytic Combustion Detection
| Complete test every 3 month | 2025-02-25 09:49 |  | 3 | Due | 2002 | 2002 | 2002 | 2003 | 2020 | 2020 | 2020
| Description | Zero | LEL 30% | LEL 60% | 27 | Oct | Nov | Dec | Jan
Loop 2 | NAVIG. DECK
1 | Wheelhouse | X | X | X | -8025.909 |  |  | 2002-12-06
2 | Elevator Top Space | X | X | X | -8025.909 |  |  | 2002-12-06
DECK D
3 | Main Entr. to D Deck Port | X | X | X | -8017.909 |  |  | 2002-12-14
4 | Main Entr. to D Deck Stb. | X | X | X | -45621.909
| DECK C | [6 empty] | 2002-12-06
5 | Main Entr. to C Deck Stb. | X | X | X | -8025.909 |  |  | 2002-12-06
6 | Conference Room | X | X | X | -8017.909 |  |  | 2002-12-14
7 | Ships Office | X | X | X | -8025.909 |  |  | 2002-12-06
8 | CCR | X | X | X | -8025.909 |  |  | 2002-12-06
9 | Main Entr. to C Deck Port | X | X | X | -45621.909
Loop 3 | DECK B | [6 empty] | 2002-12-06
1 | Main Entr. to B Deck Port | X | X | X | -8025.909 |  |  | 2002-12-06
2 | Electr. Equip. Room | X | X | X | -8017.909 |  |  | 2002-12-14
3 | Main Entr. to B Deck Stb. | X | X | X | -45621.909
| DECK A | X | X | X |  |  | 2002-11-03
4 | Main Entr. to A Deck Stb. | X | X | X | -8058.909 |  | 2002-11-03
5 | Off. Recreation Room |  |  |  | -7981.909 |  | 2002-11-03 |  | 2003-01-19
6 | Crew Recreation Room | X | X | X | -8058.909 |  | 2002-11-03
7 | Main Entr. to A Deck Port | X | X | X | -7981.909 |  | 2002-11-03 |  | 2003-01-19
8 | Galley | X | X | X | -8025.909 |  |  | 2002-12-06
Loop 4 | UPPER DECK
1 | Main Entr. Upper Deck port | X | X | X | -8017.909 |  |  | 2002-12-14
2 | Air Cond. Machinery Room | X | X | X | -8017.909 |  |  | 2002-12-14
3 | №1 Cargo Switchboard | X | X | X | -8017.909 |  |  | 2002-12-14
4 | Main Entr. Upper Deck Stb | X | X | X | -8017.909 |  |  | 2002-12-14
5 | Em'cy Gen Room | X | X | X | -8017.909 |  |  | 2002-12-14
6 | Incinerator Room | X | X | X | -8017.909 |  |  | 2002-12-14
Loop 5 | FOREPEAK
1 | Bosun Store Port | X | X | X | -7981.909 |  |  |  | 2003-01-19
2 | Air lock space | X | X | X | -7981.909 |  |  |  | 2003-01-19
3 | Bosun store stb | X | X | X | -45621.909
4 | Regas swbd room | X | X | X | -8001.909 |  |  | 2002-12-30
5 | Bow trhuster room | X | X | X | -8001.909 |  |  | 2002-12-30
6 | Fw pump room | X | X | X | -8001.909 |  |  | 2002-12-30
ALARM T/B INHIBIT CCR GAHGD001_03 (H)
GAHHGD001_07 (HH)
ALARM T/B INHIBIT ECR GAHGD001_03C (H)
GAHHGD001_07C (HH)
60 % FAN STOP
LNG-53
GAS DETECTION - ENGINE
Form No.: LNG-53
Revision: 1
Date: 15 Oct 2024
Issued by: DPA
Approved by: MD

## Cargo Area
GAS DETECTION IN CARGO AREA
Infrared Detection |  |  |  |  | 1
| Complete test every 6 month | 2025-02-25 09:49 |  |  | 6 | Due | 2020 | 2020 | 2020
| Description | Zero/Span | LEL 30% | LEL 60% | VOL 30% | 27
| Main unit LEL calibration | X |  |  |  | -45682.909
| Main unit LEL calibration | X |  |  |  | -45682.909
| Spare unit VOL calibration | X |  |  |  | -45682.909
| Spare unit VOL calibration | X |  |  |  | -45682.909
1 | №1 C. TK. Primary insu. Space |  |  |  | X | -45530.409
2 | №2 C. TK. Primary insu. Space |  |  |  | X | -45530.409
3 | №3 C. TK. Primary insu. Space |  |  |  | X | -45530.409
4 | №4 C. TK. Primary insu. Space |  |  |  | X | -45530.409
5 | №1 C. TK. Secondary insu. Space |  | X |  |  | -45530.409
6 | №2 C. TK. Secondary insu. Space |  | X |  |  | -45530.409
7 | №3 C. TK. Secondary insu. Space |  | X |  |  | -45530.409
8 | №4 C. TK. Secondary insu. Space |  | X |  |  | -45530.409
9 | №1 C. TK. Vent mast |  | X |  |  | -45530.409
10 | №2 C. TK. Vent mast |  | X |  |  | -45530.409
11 | №3 C. TK. Vent mast |  | X |  |  | -45530.409
12 | №4 C. TK. Vent mast |  | X |  |  | -45530.409
13 | Side passage way STB FWD |  | X | X |  | -45530.409
14 | Side passage way STB AFT |  | X | X |  | -45530.409
15 | Side passage way P FWD |  | X | X |  | -45530.409
16 | Side passage way P AFT |  | X | X |  | -45530.409
17 | Pipe duct FWD |  | X | X |  | -45530.409
18 | Pipe duct AFT |  | X | X |  | -45530.409
19 | Cargo compressor room №1 |  | X | X |  | -45530.409
20 | Cargo compressor room №2 |  | X | X |  | -45530.409
21 | Motor room |  | X | X |  | -45530.409
22 | Cargo escape TK. |  | X |  |  | -45530.409
23 | Inside cabinet |  |  |  |  | -45530.409
| 30% VOL. ALARM |  |  | Main gas detection cabinet
| 50% LEL VENT FAN STOP | IF POWER SUPPLY SHUT DOWN : NO GAS TRIP
30% LEL ALARM
30% LEL POWER SHUT OFF
18/11 Main unit :OFF Spare: ON
LNG-53
GAS DETECTION - ENGINE
Form No.: LNG-53
Revision: 1
Date: 15 Oct 2024
Issued by: DPA
Approved by: MD